Conference for Food Protection

2010 Issue Form

Internal Number: 060

Issue: 2010 III-015

Title:

Temperature of Water for Handwashing Sinks

Recommended Solution: The Conference recommends...:

that a letter be sent to the FDA recommending changes to the Food Code section 5-202.12 Handwashing Sink, Installation to read as follows:

5-202.12 Handwashing Sink, Installation.

(A) A handwashing sink shall be equipped to provide warm water at a temperature of at least 38oC (100oF) through a mixing valve or combination faucet. Pf

It is the policy of the Conference for Food Protection to not accept Issues that would endorse a brand name or a commercial proprietary process.