**Conference for Food Protection**

**2012 Issue Form**

**Internal Number: 053**

**Issue: 2012 I-036**

**Title:**

Designation of Water Temperature at Handwashing Sinks as a Core Item

**Recommended Solution: The Conference recommends...:**

that a letter be sent to the FDA requesting the 2009 Food Code (as modified by the Supplement issued in 2011) be amended as follows (new language shown with underline and deleted language shown with strike-through):

**Section 5-202.12 Handwashing Sink, Installation.**

(A) A HANDWASHING SINK shall be equipped to provide water at a temperature of at least 38oC (100oF) through a mixing valve or combination faucet. ~~Pf~~ C

It is the policy of the Conference for Food Protection to not accept Issues that would endorse a brand name or a commercial proprietary process.