**Conference for Food Protection**

**2014 Issue Form**

**Internal Number: 062**

**Issue: 2014 III-014**

**Title:**

Amend the water temperature requirement of handwashing sinks

**Recommended Solution: The Conference recommends...:**

That a letter be sent to the FDA requesting that Section 5-202.12 of the 2013 Food Code be amended to the following (new language is underlined; language to be removed is in strikethrough format):

5-202.12 Handwashing Sink, Installation.

(A) A handwashing sink shall be equipped to provide water at a temperature of at least 29.5°C (85°F) ~~38~~~~o~~~~C (100~~~~o~~~~F)~~ through a mixing valve or combination faucet. Pf

It is the policy of the Conference for Food Protection to not accept Issues that would endorse a brand name or a commercial proprietary process.