**Conference for Food Protection**

**2016 Issue Form**

**Issue: 2016 III-013**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Council Recommendation:** | Accepted as  Submitted |  | Accepted as Amended |  | No Action |  |
| **Delegate Action:** | Accepted |  | Rejected |  |  |  |

*All information above the line is for conference use only.*

**Title:**

Motion-Activated Handwashing Sinks

**Recommended Solution: The Conference recommends...:**

a letter be sent to the FDA requesting the 2013 Food Code be amended as follows (language to be added is underlined):

**Section 5-202.12**

(C) A self-closing, slow-closing, motion-activated or metering faucet shall provide a flow of water for at least 15 seconds without the need to reactivate the faucet.

It is the policy of the Conference for Food Protection to not accept Issues that would endorse a brand name or a commercial proprietary process.