**Conference for Food Protection**

**2016 Issue Form**

**Issue: 2016 I-044**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Council Recommendation:** | Accepted asSubmitted |  | Accepted as Amended |  | No Action |  |
| **Delegate Action:** | Accepted |  | Rejected |  |  |  |

*All information above the line is for conference use only.*

**Title:**

Hot Water Provided at Service Sink

**Recommended Solution: The Conference recommends...:**

a letter be sent to the FDA requesting the 2013 Food Code be amended as follows (language to be added is underlined):

**Section 5-203.13(A)**

(A) At least 1 service sink or 1 curbed cleaning facility equipped with a floor drain and equipped to provide water a temperature of at least 38°C (100°F) shall be provided and conveniently located for the cleaning of mops or similar wet floor cleaning tools and for the disposal of mop water and similar liquid waste.

It is the policy of the Conference for Food Protection to not accept Issues that would endorse a brand name or a commercial proprietary process.