**Conference for Food Protection**

**2018 Issue Form**

**Issue: 2018 I-034**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Council Recommendation:** | Accepted as  Submitted |  | Accepted as Amended |  | No Action |  |
| **Delegate Action:** | Accepted |  | Rejected |  |  |  |

*All information above the line is for conference use only.*

**Title:**

Amend Food Code – Remove Pf from Handwashing Water Temperature

**Recommended Solution: The Conference recommends...:**

that a letter be sent to the FDA requesting that Section 5-202.12 (A) of the most current edition of the Food Code be amended to remove the priority foundation designation (language to be deleted is in strikethrough format):

(A) A HANDWASHING SINK shall be equipped to provide water at a temperature of at least 38°C (100°F) through a mixing valve or combination faucet. ~~Pf~~

It is the policy of the Conference for Food Protection to not accept Issues that would endorse a brand name or a commercial proprietary process.